SECTION 02870

SITE FURNISHINGS

NOTE ** This section is based on products manufactured by Architectural Pottery, at the following address:

NOTE **    15161 Van Buren

NOTE **    Midway City, CA 92655

NOTE **    Tel: (714) 895-3359

NOTE **    Fax: (714) 898-5109

NOTE **

NOTE ** Architectural Pottery offers a complete line of site furnishings products.

NOTE **

NOTE ** SECTION 02870 - SITE FURNISHINGS, Copyright 1997, The Architect's Catalog, Inc.

PART 1	GENERAL

1.1	SECTION INCLUDES

NOTE ** Delete items below not required for project.

A.	Ornamental Columns.

B.	Modular Planters.

C.	Site Planters.

D.	Site Receptacles.

E.	Reproduction Vases.

F.	Terra Cotta Reproductions.

G.	Reproduction Greek Pottery.

H.	Sandstone Containers.

I.	Fountains.

J.	Statuary.

K.	Architectural Features.

L.	Water Saucers.

NOTE ** Delete the following Article if not specifying fountain.

1.2	RELATED SECTIONS

A.	Section 15100 - Building Services Piping.

1.3	SUBMITTALS

A.	Submit under provisions of Section 01300.

B.	Product Data:  Manufacturer's descriptive literature for specified products.

NOTE ** Delete the following paragraph if specifying custom colors or finishes, no finish selections required, or finish selections specified in this section.

C.	Selection Samples:  Two sets of color chips representing manufacturer's full range of available colors.

NOTE ** Delete the following paragraph if not required.

D.	Verification Samples:

1.	Supply full-size verification samples as requested by Architect.

2.	Locate verification samples samples as directed by Architect.

3.	Obtain Architect's acceptance of verification samples samples before ordering products of this section; accepted verification samples samples will be standard by which installed products of this section are judged.

NOTE ** Retain one of the following two paragraphs.

4.	Return verification samples samples to manufacturer when so directed by Architect, or at project closeout.

5.	Accepted verification samples samples may be incorporated into Work as last units of type.

E.	Manufacturer's Instructions:  Printed installation instructions for each product requiring special installation techniques.

1.4	DELIVERY, STORAGE, AND HANDLING

A.	Store products of this section in accordance with manufacturer's recommendations until installation.

PART 2	PRODUCTS

2.1	MANUFACTURERS

A.	Acceptable Manufacturer:  Architectural Pottery; 15161 Van Buren, Midway City, CA 92655. ASD. Tel: (714) 895-3359. Fax: (714) 898-5109.

NOTE ** Delete one of the two following paragraphs; coordinate with Division 01 requirements.

B.	Requests for substitution will be considered in accordance with provisions of Section 01600.

C.	Substitutions:  Not permitted.

NOTE ** Delete following paragraph if substitutions not permitted.

D.	Unless otherwise specified for an individual product or material, supply all products specified in this section from the same manufacturer.

2.2	MANUFACTURED UNITS

NOTE ** Delete any paragraphs specifying products not required for project; consult manufacturer's product literature for available sizes and finishes.

A.	Ornamental Columns:

1.	Acceptable product:  Architectural Pottery Montecito Column; non-loadbearing, half-round castings of glass fiber reinforced concrete.

2.	Size:  ______ inches wide at base by ______ inches high.

3.	Finish:  _____________.

B.	Modular Planters:

1.	Acceptable product:  Architectural Pottery Classic American Fresco Planter; castings of glass fiber reinforced concrete.

NOTE ** It is assumed that, if specifying this product, more than one type will be indicated on drawings; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

2.	Sizes:  Indicated in SCHEDULES Article of PART 3 of this section.

3.	Finish:  _____________.

C.	Site Planters:

1.	Acceptable product:  Architectural Pottery Italian Style Planter; castings of glass fiber reinforced concrete.

NOTE ** If specifying only one style, retain the following sub-paragraphs and insert the required information; retain only one of the sub-paragraphs specifying size.

2.	Style:  _________________________; Code _____________

3.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

4.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

5.	Finish:  _____________.

NOTE ** If specifying more than one type planter from this product line, or specifying this product line in combination with other planter types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

6.	Styles, sizes, and finishes:  Indicated in SCHEDULES Article of PART 3 of this section.

D.	Site Receptacles:

1.	Acceptable product:  Architectural Pottery Classic Fresco Receptacle; castings of glass fiber reinforced concrete.

2.	Ash urn:  19 inches diameter by 23 inches high; ________ finish.

3.	Trash urn:  29-1/2 inches diameter by 35 inches high; ________ finish.

4.	Trash urn:  28-1/2 inches square by 33 inches high; ________ finish.

E.	Reproduction Vases:

1.	Acceptable product:  Architectural Pottery Italian Antique Reproductions.

NOTE ** If specifying only one style, retain the following sub-paragraphs and insert the required information; retain only one of the sub-paragraphs specifying size.

2.	Style:  _________________________; Code _____________

3.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

4.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

NOTE ** If specifying more than one type from this product line, or specifying this product line in combination with other types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

5.	Styles and sizes:  Indicated in SCHEDULES Article of PART 3 of this section.

F.	Terra Cotta Reproductions:

1.	Acceptable product:  Architectural Pottery Handmade Italian Terra Cotta Reproductions.

NOTE ** If specifying only one style, retain the following sub-paragraphs and insert the required information; retain only one of the sub-paragraphs specifying size.

2.	Style:  _________________________; Code _____________

3.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

4.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

NOTE ** If specifying more than one type from this product line, or specifying this product line in combination with other types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

5.	Styles and sizes:  Indicated in SCHEDULES Article of PART 3 of this section.

G.	Reproduction Greek Pottery:

1.	Acceptable product:  Architectural Pottery Reproduction Greek Pottery.

NOTE ** If specifying only one style, retain the following sub-paragraphs and insert the required information; retain only one of the sub-paragraphs specifying size.

2.	Style:  _________________________; Code _____________

3.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

4.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

NOTE ** If specifying more than one type from this product line, or specifying this product line in combination with other types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

5.	Styles and sizes:  Indicated in SCHEDULES Article of PART 3 of this section.

H.	Sandstone Containers:

1.	Acceptable product:  Architectural Pottery English Designed Sandstone Containers.

NOTE ** If specifying only one style, retain the following sub-paragraphs and insert the required information; retain only one of the sub-paragraphs specifying size.

2.	Style:  _________________________; Code _____________

3.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

4.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

NOTE ** If specifying more than one type from this product line, or specifying this product line in combination with other types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

5.	Styles and sizes:  Indicated in SCHEDULES Article of PART 3 of this section.

I.	Fountains:

1.	Acceptable product:  Architectural Pottery Handcarved Italian Sandstone Fountains.

NOTE ** If specifying only one style, retain one of the following sub-paragraphs.

2.	Single-tier fountain:  Francia B fountain, Item MODFR/B, size 36 inches wide by 23 inches deep by 57 inches high.

3.	Two-tier fountain:  Item MOD430, size 140 inches diameter by 120 inches high.

4.	Three-tier fountain:  Item MOD287, size 40 inches diameter by 65 inches high.

NOTE ** If specifying more than one type from this product line, or specifying this product line in combination with other types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

5.	Styles and sizes:  Indicated in SCHEDULES Article of PART 3 of this section.

J.	Statuary:

1.	Acceptable product:  Architectural Pottery Season Statues, size 24 inches wide by 20 inches deep by 90 inches high.

NOTE ** If specifying only one style, retain one of the following sub-paragraphs.

2.	Style:  Winter.

3.	Style:  Summer.

4.	Style:  Spring.

5.	Style:  Fall.

NOTE ** If specifying more than one type from this product line, or specifying this product line in combination with other types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

6.	Styles:  Indicated in SCHEDULES Article of PART 3 of this section.

K.	Architectural Features:

1.	Acceptable product:  Architectural Pottery Architectural Features.

NOTE ** If specifying only one style, retain one of the following sub-paragraphs.

2.	Style:  Lions Mask Water Feature; Item LIONMSK, size 15 inches wide by 16 inches high.

3.	Style:  Fioriere Bowl; Item MOD224/F, size 32 inches diameter by 15 inches high.

4.	Style:  Bench; Item 501-F, size 16 inches wide by 19 inches high by 58 inches long.

NOTE ** If specifying more than one type from this product line, or specifying this product line in combination with other types, delete the sub-paragraphs above and retain the following sub-paragraph; assign a "Type ____" designation to each size and shape indicated, label drawings accordingly, and insert requirements in SCHEDULES Article.

5.	Styles:  Indicated in SCHEDULES Article of PART 3 of this section.

L.	Water Saucers:  Where indicated, supply water saucers matching planters, of sizes and types recommended by planter manufacturer for respective planter.

PART 3	EXECUTION

3.1	INSTALLATION

A.	Install products specified in this section in accordance with manufacturer's printed installation instructions; locate as indicated on drawings.

NOTE ** Delete the following paragraph if not specifying fountain.

B.	Installation of plumbing piping and fittings for fountains is specified in Section 15100.

3.2	CLEANING

A.	Remove dust, debris, and soil from installed products immediately after installation.

3.3	PROTECTION OF INSTALLED PRODUCTS

A.	Protect products of this section from damage to structure or appearance by subsequent construction activities; replace damaged products with new replacements.

3.4	SCHEDULES

NOTE ** In the following schedule, a suggested designation system has been devised to identify the several components of the system, in which "MP" is the abbreviation for "Modular Planter". Any designation system devised requires coordination with drawing information.

A.	Modular Planters:

1.	Type MP-1:  Rectangular planter; 20 inches wide by 60 inches long by 24 inches high.

2.	Type MP-2:  Half-round planter; 60 inches diameter by 24 inches high.

3.	Type MP-3:  Quarter-round planter; 20 inches radius by 24 inches high.

NOTE ** In the following schedule, a suggested designation system has been devised to identify the several types of planters, in which "SP" is the abbreviation for "Site Planter". Any designation system devised requires coordination with drawing information.

B.	Site Planters:

1.	Type SP-1:  Italian Style Planter.

a.	Style:  _________________________; Code _____________

b.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

c.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

d.	Finish:  _____________.

NOTE ** In the following schedule, a suggested designation system has been devised to identify the several types of planters, in which "SF" is the abbreviation for "Site Furnishing". Any designation system devised requires coordination with drawing information.

C.	Site Furnishings:

1.	Type SF-1:  Reproduction Vase.

a.	Style:  _________________________; Code _____________

b.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

2.	Type SF-2:  Terra Cotta Reproduction.

a.	Style:  _________________________; Code _____________

b.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

c.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

3.	Type SF-3:  Reproduction Greek Pottery.

a.	Style:  _________________________; Code _____________

b.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

c.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

4.	Type SF-4:  Sandstone Container.

a.	Style:  _________________________; Code _____________

b.	Size:  Top, ____ inches outside diameter; base, ____ inches outside diameter; height ____ inches.

c.	Size:  Top, ____ inches by ____ inches; base, ____ inches by ____ inches; height ____ inches.

5.	Type SF-5:  Sandstone Fountain:  Single-tier fountain; Francia B fountain, Item MODFR/B, size 36 inches wide by 23 inches deep by 57 inches high.

6.	Type SF-6:  Sandstone Fountain:  Three-tier fountain; Item MOD287, size 40 inches diameter by 65 inches high.

7.	Type SF-7:  Statuary; style Winter.

8.	Type SF-8:  Statuary; style Summer.

9.	Type SF-9:  Statuary; style Spring.

10.	Type SF-10:  Statuary; style Fall.

11.	Type SF-11:  Architectural Feature; Bench, Item 501-F, size 16 inches wide by 19 inches high by 58 inches long.

END OF SECTION