SECTION 08120

ALUMINUM DOORS AND FRAMES

NOTE ** Dor-O-Matic, aluminum doors and frames.

NOTE **

NOTE ** This section is based on the products of Dor-O-Matic, which is located at:

NOTE **    7530 W. Wilson Avenue

NOTE **    Harwood Heights, IL  60656-4786

NOTE **    Tel:  (708) 867-7400

NOTE **    Tel:  (800) 543-4635

NOTE **    Fax:  (708) 867-0291

NOTE ** Dor-O-Matic is one of the oldest, most experienced, and most innovative manufacturers of aluminum doors, frames, and automatic door equipment in the world.  This section covers only a part of their product line:  narrow and medium stile aluminum doors, frames, and accessories, including necessary hardware.  See their other sections for automatic swinging doors, automatic sliding doors, automatic folding doors, low-energy door operators, fire door operators, and ICU/CCU sliding doors.

NOTE **

NOTE ** SECTION 08120 - ALUMINUM DOORS AND FRAMES, Copyright 1998, The Architect's Catalog, Inc.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Aluminum doors, frames, mullions, thresholds, weatherstripping, trim, and miscellaneous attachments and fastenings.

1.2	RELATED SECTIONS

NOTE ** Delete sections below not relevant to this project; add others as required.

A.	Section 07900 - Joint Sealers.

B.	Section 08710 - Door Hardware.

C.	Section 08800 - Glass and Glazing.

1.3	SUBMITTALS

A.	Submit under provisions of Section 01300.

B.	Product Data:  Manufacturer's catalog data, detail sheets, and specifications.

C.	Shop Drawings:  Prepared specifically for this project; show dimensions of aluminum doors and frames and interface with other products.

1.4	QUALITY ASSURANCE

A.	Installer Qualifications:  Factory-trained, with minimum 3 years experience.

PART 2	PRODUCTS

2.1	MANUFACTURERS

A.	Acceptable Manufacturer:  Provide products made by Dor-O-Matic, 7350 West Wilson Avenue, Harwood Heights, IL 60656-4786.  ASD.  Tel: (708) 867-7400 or (800) 543-4635.  Fax: (708) 867-0291.

B.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

NOTE ** Delete paragraph above or below; coordinate with Division 1 requirements.

C.	Substitutions:   Not permitted.

D.	Provide all aluminum doors and frames from a single manufacturer.

2.2	DOORS AND FRAMES

A.	Doors and Frames:  Extruded aluminum alloy, nominal 0.125 inch (3.17 mm) thick.

NOTE ** Select finish from subparagraphs below.

1.	Finish:  Natural anodized.

2.	Finish:  Dark bronze anodized.

3.	Finish:  Black anodized.

4.	Finish:  Kynar 500 coating; color:  ______________.

5.	Finish:  Clad.

B.	Door Construction:

1.	Through-rod bolted for securing lock and pivot stiles to top and bottom rails.

2.	Top Rail:

a.	Web:  1/4 inch (6.3 mm) thick minimum.

b.	Factory-prepare to accept top door arm, Dor-O-Matic 880-000.

c.	Provide six custom steel press nuts to accept screws for mounting door arm to rail.

3.	Bottom Rail:

a.	Factory-prepare to accept fast set bottom pivot, Dor-O-Matic 10140-000.

b.	Provide four custom steel press nuts for securing bottom pivot.

NOTE ** Delete narrow stile or medium stile doors below if not required for project.

C.	Narrow Stile Doors:

1.	Top Rail:  2-1/2 inches (63 mm) high.

NOTE ** Standard top rail is 2-1/2 inches (63 mm) high; optional heights are available to 5 inches (127 mm) high.  Delete subparagraph above or below.

2.	Top Rail:  ________________ high.

3.	Bottom Rail:  3-1/2 inches (89 mm) high.

4.	Stiles:  2 inches (51 mm) wide.

D.	Medium Stile Doors:

1.	Top Rail:  3-1/2 inches (89 mm) high.

2.	Bottom Rail:  5 inches (127 mm) high.

NOTE ** Standard bottom rail is 5 inches (127 mm) high; optional heights are available to 10 inches (254 mm) high.  Delete subparagraph above or below.

3.	Bottom Rail:  ________________ high.

4.	Stiles:  3-3/4 inches (95 mm) wide.

E.	Frame and Mullion Construction:

2.3	THRESHOLDS

2.4	WEATHERSTRIPPING

2.5	TRIM

2.6	MISCELLANEOUS ATTACHMENTS

2.7	FASTENINGS

PART 3	EXECUTION

3.1	EXAMINATION

A.	Verify that door openings are plumb, square, and ready for installation of aluminum doors and frames.

3.2	INSTALLATION

A.	Install doors, frames, hardware, and accessories in accordance with manufacturer's instructions.

3.3	ADJUSTING AND CLEANING

A.	Adjust doors for proper operation, without binding or scraping and without excessive noise.

END OF SECTION