UNITED STATES DEPARTMENT OF THE INTERIOR

GEOLOGICAL SURVEY

Analytical results for stream sediment and soil samples from the                                   Commonwealth of Puerto Rico, Isla de Culebra, and Isla de Vieques

By

Sherman P. Marsh

Open-File Report 92-353A

This report is preliminary and has not been reviewed for conformity with U.S. Geological

Survey editorial standards.  Any use of trade, product or firm names is for descriptive

purposes only and does not imply endorsement by the USGS.

U.S. Geological Survey, DFC, Box 25046, MS 973, Denver, CO  80225

1992

CONTENTS

Introduction.....................................................................................1

Geology ..........................................................................................1

Methods of Study

Sample Media............................................................................ 3

Sample Collection and Preparation............................................ 3

Sample Analysis........................................................................ 3

Data Storage System .......................................................................4

Description of Data Tables.............................................................. 4

Computer Diskette.......................................................................... 4

References Cited ............................................................…..............5

ILLUSTRATIONS

Figure 1. Commonwealth of Puerto Rico, Isla de Culebra, and Isla de Vieques..................... 2

TABLES

Table 1.  Limits of determination for spectrographic analysis of stream sediment and soil samples..7

Table 2.  Limits of determination for atomic absorption and inductively coupled plasma-atomic

emission spectroscopic analysis of stream sediment and soil samples......................... 8

i

INTRODUCTION

This report presents the results of a geochemical survey of the Commonwealth of

Puerto Rico, Isla de Culebra, and Isla de Vieques as digital data files on a 1.2 megabyte

floppy disk.  A regional stream-sediment geochemical survey of Puerto Rico began in the

early 1970's as an outgrowth of the cooperative exploration geochemical studies by the

Department of Natural Resources of Puerto Rico (DNR) and the U.S. Geological Survey

(USGS) on the Rio Tanama and Rio Vivi copper projects.  From the early 1970's through

the mid-1980's stream sediment sampling continued over a large part of the island.  In 1980

a cooperative project between DNR and the USGS was started to continue the regional

stream sediment sampling program and continued for several years.  A total of 2560 stream

sediment samples were collected during this phase of the project.  In 1990 a systematic

search of USGS computer records yielded a geochemical data set for the stream sediments

which indicated that the geochemical sample net for the island was incomplete.  In 1991 two

field trips were made to Puerto Rico and an additional 292 stream sediment samples were

collected and analyzed in order to complete the regional geochemical survey.  The analytical

results of a total of 2852 stream sediment samples are included on the floppy disk.  In

addition to the main island of Puerto Rico, the islands of Culebra and Vieques were

sampled.

GEOLOGY (from Schellekens, 1991)

Puerto Rico, the eastern-most island of the Greater Antilles, is a translational

island-arc terrane with a geologic record of 140 million years.  The island lies within the

seismically active Caribbean-North American Plate boundary zone.  The relative motion

between the two plates is on the order of 2 cm per year and is mainly taken up by strong

oblique underthrusting and left-lateral faulting in the Puerto Rico trench.  A well defined

southward dipping Benioff zone occurs under the eastern half of the island but is missing

under the west side (McCann and Sykes, 1984; Schell and Tarr, 1978).  Some plate motion

and underthrusting also occurs south of Puerto Rico in the Muertos Trough.

Puerto Rico and the Virgin Islands appear to be a separate tectonic block within the

plate boundary zone.  Puerto Rico is separated from Hispaniola on the west by a zone of

active extension, which runs from the Mona canyon through the southwestern quarter of the

island.  On land extensional faulting has produced the distinctive ridge and valley

topography and generally low elevations of southwestern Puerto Rico.  Eastern Puerto Rico

and the northern Virgin Islands are separated from St. Croix and the Lesser Antilles by

another active zone of extension which formed the Whiting Basin (south of Puerto Rico, the

Virgin Islands basin, and the Anegada Passage.

Puerto Rico consists of volcanic, volcaniclastic, and sedimentary rocks of Late

Jurassic to Early Tertiary age, which were intruded by felsic plutonic rocks during the Late

Cretaceous and Early Tertiary, and are overlain by slightly tilted Oligocene and younger

sedimentary rocks and sediments (Briggs and Akers, 1965).

Island-wide lithostratigraphic correlation within the basement rocks is difficult

because individual units appear to have limited original lateral extent and the rocks have

been subsequently strongly deformed and faulted.  To overcome these correlation problems

earlier workers divided the island into structural blocks (Cox and Briggs, 1973) or

subprovinces (Barabas, 1977).

Figure 1. The Commonwealth of Puerto Rico, Isla de Culebra, and Isla de Vieques

METHODS OF STUDY

Sample Media and Collection

During the cooperative project between the USGS and DNR sediment samples were

collected from first order streams that drained basins from less than 1 square kilometer to

as much as 3 square kilometers.  The sediment samples were collected from the main

channel of mostly active streams.  The sediment samples collected in 1991 were from first

and second order streams and represented drainage basins as large as 10 square kilometers.

These samples were also collected from the main channel of active streams.  The island of

Vieques was geochemically sampled for soils in 1972 and a report describing the results are

discussed in Learned and Boissen (1972).  A soil sample survey for Isla de Vieques was

conducted, rather than a stream sediment survey, because stream drainages were poorly

developed and commonly filled with colluvium and, when near populated areas, highly

contaminated.  A total of 421 soil samples were taken of the C horizon (weathered bedrock)

on 0.5 kilometer centers on northwest trending traverses spaced approximately 1 kilometer

apart.  The small island of Culebra was sampled geoochemically in late 1970 as part of a

study to determine the islands natural resources, development potential, and socio-economic

aspects (Commonwealth of Puerto Rico, 1970).  Because of the lack of active streams on

the island geochemical samples of dry stream bed material were collected.  This material

included pebbles and cobbles showing the most intense iron staining and any material

showing traces of mineralization.  A total of 46 samples were collected.

Sample Preparation

All samples were sieved to minus 80 mesh (0.18 mm) and then pulverized to approximately

minus-100 mesh (minus-0.15 mm) with a grinder using ceramic plates.

Sample Analysis

All samples were analyzed for 35 elements using a semiquantitative, direct-current arc

emission spectrographic method (Grimes and Marranzino, 1968).  The elements analyzed

and their limits of determination are listed in table 2. Values determined for the major

elements (iron, magnesium, calcium, phosphorus, sodium, sulfur and titanium) are given in

weight percent; all others are given in parts per million (micrograms/gram).

Spectrographic results were obtained by visual comparison of spectra derived from

the sample against spectra obtained from standards made from pure oxides and carbonates.

Standard concentrations are geometrically spaced over any given order of magnitude of

concentration as follows:  100, 50, 20, 10, and so forth.  Samples whose concentrations are

estimated to fall between those values are assigned values of 70, 30, 15, and so forth.  The

precision of the analytical method is approximately plus or minus one reporting interval at

the 83 percent confidence level and plus or minus two reporting intervals at the 96 percent

confidence level (Motooka and Grimes, 1976).

Atomic absorption results for gold were obtained after preparing the samples for

analysis using the method of Thompson and others (1968) for samples collected between

1970 and 1985 and by the method of O'Leary and Meier (1986) for samples collected in

1991.  Atomic absorption results for zinc were obtained by using a nitric acid digestion

method described by Ward and others, (1969) for the samples collected between 1970 and

1985.  for samples collected in 1991 zinc, and 9 other elements, were analyzed using

ICP-AES by the method of Motooka (1988) (Table 2).

DATA STORAGE SYSTEM

Upon completion of the analytical work, the results were entered into a U.S. Geological

Survey computer data base called RASS.  This data base contains both descriptive geological

information and analytical data.  Any or all of this information may be retrieved and

converted to a binary form (STATPAC) for computerized statistical analysis or publication

(VanTrump and Miesch, 1977).

COMPUTER DISKETTE

The following text is included on the 1.2 megabyte diskette as a readme file titled

"README.DOC".  In addition to this file there are data files and a file containing the

complete text of this report.

UNITED STATES DEPARTMENT OF THE INTERIOR

GEOLOGICAL SURVEY

Analytical results of stream sediment samples from the

Commonwealth of Puerto Rico

By

Sherman P. Marsh

Open-File Report 92-353A

This report is preliminary and has not been reviewed for conformity with U.S.

Geological Survey editorial standards.  Any use of trade, product or firm

names is for descriptive purposes only and does not imply endorsement by

the USGS.

U.S. Geological Survey, DFC, Box 25046, MS 973, Denver, CO  80225

1992

______________________________________________________________________________

_______

FILES ON THIS DISK

CULEBRA.STP is a binary file of chemical data for Isla de Culebra

VIEQUES.STP is a binary file of chemical data for Isla de Vieques

PRNEW.STP is a binary file of 1991 chemical data for Puerto Rico

PROLD.STP is a binary file of 1975-1985 chemical data for Puerto Rico

STP2DAT.EXE is a conversion program from "STP" data file to other commonly

used data files (DBF, CMN, PST, DIF, and others).

PROFR.ASC is an ASCI text file of the U.S. Geological Survey Open-File Report 92-

README.DOC is an ASCI text file explaining the files on this diskette

The data tables (*.STP) can be converted into several formats, including

DBF, DIF, and ASCII by using the program STP2DAT, authored by W.D. Grundy of

the USGS.  This program is included on this disk.

This disk contains geochemical data from 2560 stream sediment samples collected in Puerto

Rico, 421 soil samples collected on Isla de Vieques, and 35 soiL samples were collected on

Isla de Culebra.  Each rock sample was analyzed for 35 elements by a semiquantitative

spectrographic method and for gold and zinc by other chemical methods.  Requirements:

IBM PC or compatible, 1.2 megabyte disk drive, and a minimum 512K RAM.  To order a

paper or microfiche copy of this report, order OF92-353A, p. and to order an executable

diskette, order OF92-353B.

Disclaimer:

Although the program STP2DAT.EXE has been used by the U.S. Geological Survey, no

warranty,

expressed or implied is made by the USGS as to the accuracy and functioning of

the program and related material, nor shall the fact of distribution constitute

any such warranty, and no responsibility is assumed by the USGS in connection

therewith.

REFERENCES

CITED

Barabas, A.H., 1977, Petrologic and geochemical investigation of porphyry copper

mineralization in west-central Puerto Rico:  New Haven, Conn., Yale University,

unpublished Ph.D. thesis, 466 p.

Briggs, R.P., and Akers, J.P., 1965, Hydrogeologic map of Puerto Rico and adjacent

islands:  U.S. Geological Survey Hydrologic Investigations Atlas HA-197, scale 1:240,000.

Cox, D.P., and Briggs, R.P., 1973, Metallogenic map of Puerto Rico:  U.S. Geological

Survey Miscellaneous Geologic Investigations Map I-721.

Environmental Quality Board, 1971, An island in transition: a staff report on the

environment to theGovernor's special committee on Culebra: 106 p.

Grimes, D.J., and Marranzino, A.P., 1968, Direct-current arc and alternating-current

spark emission spectrographic field methods for the semiquantitative analysis of geologic

materials:  U.S. Geological Survey Circular 591, 6 p.

Learned, R.E., Grove, G.R., and Boissen, R, 1973, A geochemical reconnaissance of the

island ofVieques, Puerto Rico: U.S. Geological Survey Open-File Report, 6 p.

McCann, W.R., and Sykes, L.R., 1984, Subduction of a seismic ridges beneath the

Caribbean Plate--Implications for the tectonics and seismic potential of the northeastern

Caribbean:  Journal of Geophysics Research, v. 89, p. 4493-4519.

Motooka, J.M., 1988, A exploration geochemical technique for the determination of

preconcentratedorganometallic halides by ICP-AES: Applied Spectroscopy, 42, p. 1293-1296.

Motooka, J.M., and Grimes, D.J., 1976, Analytical precision of one-sixth order

semiquantitative spectrographic analyses:  U.S. Geological Survey Circular 738, 25 p.

O'Leary, R.M. and Meier, A.L., 1986, Analytical methods used in geochemical exploration,

1984:  U.S.Geological Survey Circular 948, p. 23-27.

Schell, B.A., and Tarr, A.C., 1978, Plate tectonics of the northeastern

Caribbean Sea, in MacGillavry, H.J., and Beets, D.J., eds., Transactions 8th Caribbean

Geological Conference (Willemstad, 1977):  Geol. en Mijnbouw 57, p. 319-324.

Schellekens, J.H., Joyce, J., Smith, A.A., and Larue, D.K., 1991, Tectonics and

mineral deposits of the Caribbean, in Schellekens, J.H., ed., 10th Annual Symposium on

Caribbean Geology:  Mayaguez, University of Puerto Rico, Department of Geology, 37 p.

Thompson, C.E., Nakagawa, H.M., and Van Sickle, G.H., 1968, Rapid analysis for gold in

geologicmaterials, in Geological Survey Research 1968: U.S. Geological Survey Professional

Paper

600-B, p. B130-B132.

VanTrump, George, Jr., and Miesch, A.T., 1977, The U.S. Geological Survey

RASS-STATPAC system for management and statistical reduction of geochemical data:

Computers and Geosciences, v. 3, p. 475-488.

Ward, F. N., Nakagawa, H.M., Harms, T.F., and Van Sickle, 1969, Atomic-absorption

methods useful in geochemical exploration: U. S. Geological Survey Bulletin 1289, 45 p.

TABLE 1. Limits of determination for spectrographic analysis of stream

sediment and soil samples

---------------------------------------------------------------------------------------------------------

Elements    Lower determination limits      upper determination limits

--------------------------------------------------------------------------------------------------------------------

Percent

---------------------------------------------------------------------------------------------------------------------

Iron (Fe)                              0.05                                20

Magnesium (Mg)                 0.02                                10

Calcium (Ca)                       0.05                                20

Titanium (Ti)                       0.002                               1

--------------------------------------------------------------------------------------------------------------------

Parts per million (ppm)

--------------------------------------------------------------------------------------------------------------------

Manganese (Mn)		10		5,000

Silver (Ag)		0.5		5,000

Arsenic (As)		200                    10,000

Gold (Au		10		500

Boron (B)		10		20,000

Barium (Ba)		20		5,000

Beryllium (Be)		1		1,000

Bismuth (Bi)		10		1,000

Cadmium (Cd)		20		500

Cobalt (Co)		5		2,000

Chromium (Cr)		10		5,000

Copper (Cu)		5                        20,000

Lanthanum (La)		20		1,000

Molybdenum (Mo)                                       2,000

Niobium (Nb)                   20                        2,000

Nickel (Ni)                       5                          5,000

Lead (Pb)                         10                       20,000

Antimony (Sb)                 100                     10,000

Scandium (Sc)                 5                          100

Tin (Sn)                           10                       1,000

Strontium (Sr)                  100                     5,000

Vanadium (V)                  10                      10,000

Tungsten (W)                   50                      10,000

Yttrium (Y)                      10                      2,000

Zinc (Zn)                          200                    10,000

Zirconium (Zr)                 10                      1,000

Thorium (Th)                   100                    2,000

-----------------------------------------------------------------------------------------

Table 2. Limits of determination for atomic absorption (aa) and inductively

coupled plasma-atomic emission spectroscopic analysis of stream sediment and soil samples

________________________________________________________________________

Element              		 Method   Lower Limit of      References

determined                   		Determination (ppm)

________________________________________________________________________

Gold (Au)    		   aa    	 0.05  	 Thompson and others, 1968

Gold (Au)   		   aa        0.002	  O'Leary and Viets, 1986

Zinc (Zn)   		   aa    	 5  	    Ward and others, 1969

Zinc (Zn)      			ICP    	0.05   	Motooka, 1988

Copper (Cu)   		    "      	0.05   	"       		"

Lead (Pb)      		    "      	0.60      	"      		"

Silver (Ag)    		    "      	0.10      	"      		"

Gold (Au)      		    "      	0.15      	"       		"

Bismuth (Bi)   		    "      	1.0       	"       		"

Cadmium (Cd)      	    "        0.05       "       		"

Molybdinum (Mo)      	    "        0.09     	"       		"

Antimony (Sb)        	    "  	 1.0       	"       		"

Arsenic (As)  		    "    	 1.0     	"       		"