***********************************************************************

*                                                                     *

*              *      *   *        ******  *           *              *

*              *      *   *        *        *    *    *               *

*               *    *    *        ***       *   *   *                *

*                *  *     *        *          * * * *                 *

*                 **      *        ******      *   *                  *

*                                                                     *

***********************************************************************

A data analysis suite,

incorporating the exponential fitting routine DELP.

DELP algorithm due to Dr J Martin, Dept Physics, Kings College, Strand,

LONDON WC2R 2LS,  and implemented by DJ Maconochie, Washington University

BOX 8054, 660 S Euclid, St Louis MO 63110 (to whom correspondence may be

initially addressed.

E-mail DJM@morpheus.wustl.edu

Feel free to use this program, but please reference

Martin and Maconochie (1989) J Physiol 418:9P7 in any publications that

contain data analysed using DELP.

INTRODUCTION

1) This software comes free,  with no guarantees.  Feel free to distribute

it in its entirety, with all the associated files.

____________________________________________________________________________

2) System requirements:

a)  Processor- Any IBM PC or compatible should be able to run this program,

but note that it is designed to operate on large data sets,  and on a 8086

machine will run painfully slowly.

b)  Maths co-processor- By default,  the code is compiled for use with a

maths co-processor.  There is no reason for this except that I have always

had one,  and without one the program will be excruciatingly slow.  For

exmaple,  filtering the data digitally might take 4 seconds on a 33 MHz 486

machine,  and 20 minutes on a 286 machine without a co-processor.

c)  Screen-  The suite was written with standard 16 colour VGA in mind.  It

will run on any screen,  but some of the boxes and colours in the menu tree

will be difficult to decipher, especially with mono- screens.

d)  Printer-  Hard copy was available originally on a dot matrix printer.

Most dot matrix printers should give something resembling a screen dump.

Fancy plots are supported on HP II and HP III.  You are however limited to

the landscape fonts available (for example the HP II only has "line printer"

and "courier").

e)  Data-  The most important part.  Any file is acceptable that contains a

(optional) header string,   followed by a string of 2-byte integers.  The

following extensions are reserved,  and cause the program to try to read

a particular type of header from the start of the file: ".SVG", ".OLV",

".CX4" and "CX5".

____________________________________________________________________________

3) Brief overview:

The program runs entirely in graphics mode.  There is a central menu root,

from which branches extent vertically in levels.  <Return> and <Esc> move

up and down the levels.  Items may be selected in one of four ways:

a) items in the root may be selected from anywhere in the program by

typeing <Alt> plus the first letter.

b) from any other level by typing the first letter.

c) by moving the highlighted bar using the arrow keys,  pressing <Return>.

d) By taking one of a number of shortcuts such as <Alt>+"R" to run DELP,

<Alt>+"L" to load a file,  <Alt>+"X" to leave the program and <Alt>+"G"

to get the data display screen.  The shortcuts are indicated to the right

of the item in the menu tree.

4) Getting started quickly:

It is assumed that

a) you have some data in a file called "filename.dat" or some equivalent.

b) the data is a string of 2 byte integers.

c) that you wish to fit a sum of exponentials to the data

i) from the DOS prompt, type "VIEWMENU" <Return>.  If you are connected to

a laser printer,  and you want hardcopy,  then type "VIEW" <Return>.

ii) type <Return> twice.  After the first,  you enter the File menu.  After

the second,  you invoke the last data file that was used.  The filename may

be edited.   Then press <Return> again.

ii) hold the <Alt> key and press "G" (ie type <Alt>+"G").  You are now in the

display mode.

iii) press the <Home> key.  This has the effect of displaying the data on

screen at minimum magnification.  If the trace is an inconvenient size, then

read the following section to find out how to change the size of the diplayed

trace:  section Graph-Display-  below.

iv) press <Return>.  Now you should see two cursors on screen.   Position them

around the section of data to be fitted,  using <Ctrl> and the arrow keys.

Press <Esc> when you are finished.

v) type <Alt>+"D".   You are now in the fitting menu for DELP.  Type "i" and

enter the number of exponentials to be fitted (Integration level).  Type "p"

and enter the polynomial degree to be used.  Ten is usually sufficient,  but

experiment with more or less.

vi) If next to "Baseline" the word "SET" appears, then press "B".  In this

mode the baseline or offset in your data is calculated.

vii) now press "R" to begin the fit.  First a red line overlays the data.

This is a curve calculated from the polynomial coefficients used to represent

the data.   Next the complete fit is drawn in yellow,  and a box with the

caluculated coefficients appears.  Each coefficient appears as a complex

number,  for example "-0.5067 + 0.003j".  If a pair of coefficients is

complex,  then the data has been fitted with an oscillatory component (ie

not a simple decaying exponential).

viii) type <Alt>+"G" to return to the display mode,  or <Alt>+"X" to exit

the program.

___________________________________________________________________________

5)  In the following sections,  the functions available after

selecting the indicate item are given.

___________________________________________________________________________

FILE MENU

File-Load-   re-load the last file you used by pressing <Return>,

or select a new one by typing the full path and name.   When you load a file

successfully,  if the file does not have a recognised header that gives the

digitisation frequeny etc,  you will be asked "retain scale values? N".  If

you answer "Y" (deleting the "N" first),  the last values used will be

retained,  otherwise default values will be set.

File-Pick-   pick one of the last six that you used.

File-Change dir- type in a new directory to  begin a search.

File-Directory-  first add a file name template such as "*.*" or

"*.dat".  To begin the search,  type <Return>.  A box with a list of file

names should appear.  Directory names will be pre-fixed with "\".  The

symbol "\.." in the top left corner indicates a route back towards the

root directory or drive.  If in doubt,  exit by typing <Esc>, and giving the

template "*.*", work your way out from the current directory (where the

program is, usually "C:\VIEW").  The operation of this item can be a little

confusing.  Also note that I have experienced difficulty with networked

drives.

File-Quit-  Exit the program,  saving to disk all the parameters that have

been altered,  so that  when you restart the program everything is exactly

as you left it.

____________________________________________________________________________

GRAPH MENU

Graph-Display-  from here,  a special set of functions are available

for manipulating the data on screen,  Briefly these are:

a) move the trace: arrows, and <Ctrl>+arrows.

b) resize it: arrows, <insert>, <delete>, <pageUp>, <pagedown>, <home>.

c) next sweep: <spacebar>, previous sweep <Tab>,  jump by "j" followed

by number of sweeps by which to jump.

d) create a window in the display: "w",  resize it with arrows and <Ctrl>

+arrows, <return> to fix it.

e) select a section of the data on screen: <Return> followed by arrows

and <Ctrl>+arrows to move the cursor,  <Return> to toggle between the

"start" cursor and the "end" cursor, and <Esc> to exit this sub-routine.

f) clear the screen and re-draw the trace "c".

g) toggle between either displaying all the points or drawing lines

between a reduced number of points, "p".

h) toggle between a display with scale lines across the whole screen, or

just at the edges, "s".  Note that you may have to follow with "c" to

clear the screen to see the effect of turning the scale lines off.

i) add the current trace to the average buffer, "+".

j) invert the current trace, "-".

k) exchange the "average/fitting" buffer for the "data" buffer, "x".

l) <Alt>+"z" to clear the average buffer.

m) to rotate the trace in the current buffer, "<",  ">", and <shift>+

"<" or ">".  This is used for example to align events in a data sample

before adding to the average buffer.

n) to reset the current trace to an un-rotated state, "z".  To reset all

the traces, <shift>+"z" (ie "Z").  Note that the state of rotation of the

first 100 sweeps is retained even after exiting the program,  and may cause

confusion unless "Z" is used.

o) to temporarily disble the screen while still changing the data around

press "u" once.  Pressing "u" a second time restores the screen.

g) the command "g" adds a 20x14 grid to the screen (useful for making up

a complex picture to print).

r) rotate the trace automatically,  using the rectangular event located

between the points where you last left the data selection cursors.  This

complex function is not recommended for most purposes.

summary:

C : clear display

G : add grid

J : jump to another sweep

P : toggle points/lines

R : rotate current trace

S : toggle scale lines across the whole screen

U : toggle update screen ON/OFF

W : create window in display

X : exchange data buffer and average buffer

z : zero rotation on current trace

Z : zero rotation on all traces

+ : add current trace to buffer (or the buffer that is not current)

- : invert the trace

<Alt>+Z : zero the buffer

<spacebar>     : next trace

<Tab>          : previous trace

<Insert>/<Delete : trace up/down

<Home>           : default size

<PageUp>/<PageDown> : enlarge, diminish X scale

arrows/<Ctrl>+arrows : move trace around screen

Graph-StartFit1..EndPlot-  Set manually the cursors for selecting the

part of the data to fit,  and to display on screen.

Graph-Sweep number-  Type in the number of the sweep to display on screen

and to fit.

GRAPH-AVERAGE MENU

Graph-Average-Clear buffer-  Reset the average buffer.

Graph-Average-File name-  This is the name of the file to which the average

buffer will be saved when using "Append" or "Overwrite"

Graph-Average-Overwrite file-  The contents of the average buffer is written

together with the current header (if any) to the file  given,  replacing any

file of the same name that exists.

Graph-Average-Append file-  The contents of the average buffer is added to

the end of the file given above.

Graph-Average-Tag to data file-  The contents of the average buffer is added

to the end of the data file.

Graph-Average-"+" list-  Type in a sequence of integers, punctuated with

commas.  On pressing "Run",  these sweeps of data wil be averaged.

Graph-Average-"-" list  Type in the sweeps (punctuated with commas) that

should be subtracted from the average.  On pressing "Run",  these sweeps will

be inverted and then averaged along with the sweeps in the "+" list.

Graph-Average-Run-  Make an average of all the sweeps in the "+" and "-"

lists.

Graph-Average-Set thresholds-  Automatically rotate all the sweeps in the

current file, using a rectangular event presumed to be located between

"startFit1" and "endFit1".

Graph-Average-With filtering-  The automatic rotation sequence will begin

by filtering the section of data between "startFit1" and "endFit1" using the

parameters in the "Filter" menu.

Graph-Average-Buffer size-  The automatic rotation function works by taking

the Fourier transform of the data,  looking for a pattern in the relative

phase of the first "Buffer size" Fourier components.   The more closely the

signal event in the data corresponds to a rectangular event,   then the

larger the "Buffer size" can be.  In general a larger "Buffer size" will give

a more accurate result.  Somewhere between 2 and 6 is suitable.

___________________________________________________________________________

COPY MENU

Copy-Dot matrix dump-  This puts out a pixel-by-pixel plot of the current

screen display.  It works on a Epsom LX-80 and LQ-800.  It should work with

others as well,  but you may have to fiddle with Dip switches.

Copy-Laser menu-  High resolution output (every point between startPlot

and endPlot is printed) is available on a laser printer,  with some control

over the final format.  Landscape mode only at the moment is available,

but if the current display is a window in the top left corner of the screen

for example, then the plotted output will also appear in the top left corner.

COPY-LASER MENU

Copy-Laser menu-Plot style- This function toggles between plotting individual

points, or drawing lines (continuous or dashed) between the points.

Copy-Laser menu-Dot size- Whatever symbol is selected, printed in a size

ranging from 1 (almost invisible) to 16 (about 4 mm across).

Copy-Laser menu-Symbol-  Toggle between a range of  symbols.  Not all are

currently availble.

Copy-Laser menu-Laser plot-  When this function is selected,  the current data

sweep as displayed on screen is output to the printer.  At the same time a scale

bar may also be printed, along with some information such as the location of the

cursors marking the fitted region,  the file name and sweep number,  and the

results of the last DELP fit.

Copy-Laser menu-Bar scale-  Toggle On/Off;  when On a scale bar will be

printed along with the data.

Copy-Laser menu-Text start point-  All text printed out,  the file name,  the

fit results etc will be printed out started from the "Text start point".  A

target will appear on screen on selecting this function.  It may be moved using

the arrow keys.  Press <Return> to fix the position and return to the menu.

Copy-Laser menu-Write over-  When this function is selected,  a window

appears on screen showing the last message that was entered here.  It may be

edited.  On pressing <Return>, the message will be written immediatly to the

printer,  and also to the screen in roughly the comparable position.

Copy-Laser menu-Eject page-  This function sends to the printer the signal

to dump out a sheet.

Copy-Laser menu-Fitted output-  This toggles On/Off.  When "On",  the

results of the last DELP fit will be sent to the printer when the next data

trace is printed using "Laser plot".  It will appear below the point set by

"Text start point".

Copy-Laser menu-Change font-  Some control over the fonts used in printing

is available from this menu.  The selected fonts differ in the laser output

only,  not on the screen.

Copy-Laser menu-Number of copies-  Select how many copies of the completed

output to be dumped on selecting "Eject page".

Copy-Laser menu-Indicate fit window- Toggles On/Off.  When "On",  vertical

dashed lines appear in the printer output corresponding to the region of data

used in the fitting procedures.

Copy-Laser menu-Reset plot default-  All the parameters in the Laser menu

will be returned to default values.

COPY-LASER MENU-CHANGE FONT MENU

Copy-Laser menu-Change font-scale bar size-   An integer value given here

will select the size of the text associated with the scale bar.  Note that

this must correspond to the size of a font available on the printer.

Copy-Laser menu-Change font-scale bar font-  Toggle between the various

fonts supported (those found on a standard HP II and HP III printer).

Copy-Laser menu-Change font-scale bar weight-  If this available on your

printer, then you can select various weights of text to be used with the

scale bar.

Copy-Laser menu-text size, font, weight-  These relate to all other text

output to the printer:  the fitted output,  the text entered in "Write over"

and the file information printed automatically.

Copy-Laser menu-Reset default-  These fonts are reset to those that work

with a HP II printer.

______________________________________________________________________________

DELP MENU

DELP-Int.Level  DELP is an alogorithm for obtaining a very fast fit of

a sum of exponentials.  It works on the principle that a sum of exponentials

is a solution of a linear homogeneous differential equation with constant

coefficients.  The integral form of the equation is used.  "Int.level" is the

degree of the integral equation,  and so is equal to the number of exponentials

being fitted.   The maximum here is 8,  minimum 1.

DELP-Poly.degree  As an intermediate step,  the data is first represented

by a finite Legendre polynomial series.  This has the twin benefits of reducing

the data set to a manageable size,  and of filtering the data.  The maximum is

50 (but oscillation may occur if there are less than 4x50 data points),  the

minimum is 2x(Int.level+1). If you need more than a 20 component series to

adequately describe the data,  then it is likely that the underlying

exponentials are not closely spaced (there is a factor of ten or more between

their rate constants),  and so the components may be fitted separately by

selecting the section of trace to fit.

DELP-Run fit   Start the DELP fitting procedure.

DELP-Baseline  The baseline may be calulated autoematically ("Baseline AUTO"),

or an estimate may be made in advance ("Basline SET"). Use this function to

toggle between the two.

What comes out of the "least squares" fit of an integral

equation to the data,  are the exponential rate constants (inverse time

constants).  If the baseline is unknown,  then one coefficient of the

polynomial series has to be discarded.  If the baseline is known,  then

a more accurate estimate of the rate constants may be made.  On selecting

"Baseline SET",  a line and a box should appear on screen.  If they do not,

then press "Z" to zero the baseline.  The horizontal cursor may be moved up

and down using the arrow keys.  Note that the steps widen with frequent key

strokes.  Press <Return> when you have positioned the cursor to your

satisfaction.

Note that the exponential amplitudes and offset are calculated as a second

and separate procedure,  so if the calculated baseline differs by more than

1 % from your estimate,  then  this suggests that the original estimate

was incorrect.

DELP-Split run  There is the option of running the fit simultaneously on

two separate sections of data.  This is useful for example if there is a

glitch in the middle of an otherwise good trace.  It is advisable to avoid

this function where possible.

DELP-Append  Write the results of the last fit as an ASCII string,  to

the end of the ASCII output file.

DELP-Overwrite  Replace the contents of the output file with the results of

the last fit.

DELP-Delp file name   The name of the text file to which the results of the

last fit will be written.

DELP-Clear  Clear the screen.

DELP-Skip points   There is the option to decimate the data.  This may be

useful if you have 32,000  data points to be fitted  (the maximum allowed),

and you have only a 8086 processor running at 4 MHz!  Note that entering

10 here means that only every tenth point is used in the fit,  so if there

is a large component of random noise,  then filter the data first.

DELP-With pathname  This toggles On/Off.  When it is "ON", then the path

and filename,  sweep, file time and estimated baseline written to the output

file,  along with the results of the last fit.

_____________________________________________________________________________

PATTERN SEARCH (PtnSch)

This is an iterative (read VERY SLOW) procedure to find a set of

coefficients that in this application finds a pattern that leads to a reduction

in the "sum of squares",  and repeats it or changes it to improve the rate

of convergence.

This fitting procedure is not recommended for fitting exponentials for a

number of reasons.  Quite apart from the fact that it frequently converges

to false minima close to the true minimum,  it is time consuming to set up

and painfully slow compared to DELP.

Its advantages are that any function (in general, although not here) may

be fitted,  and any variable may be selectively tweaked or held constant.

1) Select the required equation,  and make a note of the number of variables.

2) Go to the Parameter menu.

3) Enter the number of variables.

4) Set the "maximum number of iterations to 100"

5) Set "skip points" to the maximum indicated

6) Enter your first guess at the parameters in the left column only.  The

other two columns will be updated automatically.

7) Leave the Paramter menu <Esc>.

8) Use the function Keep to preserve the values you have just typed.  (You

can restore them with Reset values.)

9) Use the function Search to begin the search for a solution.  This is just

a trial run to see if your estimates are anywhere near.  The screen is only

updated every tenth time that an improved fit is found (hence the maximum

iterations needs to be quite high).

10) If the fit is converging,  then go back to the Parameter menu and increase

the number of iterations,  and decrease the number of points to skip.

For the meaning of Append,  Overwite and Clear,  see DELP MENU

_____________________________________________________________________________

TRANSFORM MENU

Transform-Re-Scale-   This function is useful if your data does not have

a recognisable header,  and so the digitisation frequency,  number of

point,  gain etc are set to default.

Transform-Filter-  Digital implementation of analogue filter characteristics

is available for filtering a single sweep or part of a sweep.  Note that this

menu can be reached by <Alt>+"Q".

Transform-FFT-,  Transform-Histogram-  These are not written yet.

TRANSFORM-RE-SCALE MENU

Transform-Re-scale-Full scale Y-  This should be the value of your measured

variable (eg voltage) at the full range of a 16-bit ADC.  For example, suppose

you have a 16 bit ADC,  with a +/- 10 V input range,  then you should enter

"Full scale Y" as "10".  Many ADC's are only 12 bit,  moreover some devices

write to the highest 12 bits of a 16 bit integer (as read by the computer)

an example is the CED 1401,  and others (AXON) write to the lowest 12 bits.

The latter case becomes apparent when you data appears in the "display" mode

to be very small.  In this case,  the input range (10 V) should be multiplied

by 2 to the power 4, ie 16,  so the correct number to type for "Full scale Y"

would be "160".

Transform-Re-scale-Zero scale Y-  Suppose that the input signal to the ADC

was offset by  1 V (ie you added 1 V DC to the input signal) then the value

you should type for "Zero scale Y" is "-1".  Alternatively,  suppose that

your ADC input range is zero to 10 V,  then  "Zero scale Y" will be "5",  and

"Full scale Y" will be "10".

Transform-Re-scale-Dig. freq.-  The digitisation frequency  should be

entered here in Herz.   For example 1 kHz should be entered as "1000".

Transform-Re-scale-Points per sweep-  If your data consists of a string of

repeated traces,  each of the same length,  then you can give the length of

a single trace or sweep as the number of data points.

Transform-Re-scale-Time zero/ End of trace-  "Time zero" is the time you

wish to use to refer to the beginning of a trace.  "End of trace"  is the time

for the end of the trace.   If you enter these two times,  then "Points per

sweep"  will be re-adjusted automatically.

Transform-Re-scale-Header size-  If your data has a header,  ie a string of

bytes that refer to the digitisation frequency, the number of sweeps etc,

that cannot be read by this program,  and you do not wish the header bytes to

be displayed as data points,  then you can give the size of the header here

in words (a word is two bytes).

Transform-Re-scale-Y scale label-   The label out on the scale bar,  is

either the label read from the header file,  or a default label.  This is an

option to change it to something else.

TRANSFORM-FILTER MENU

Transform-Filter-Filter data-  This function starts the filtering of the

current buffer or data sweep.  The filter function is first generated using

the last parameters selected.  The number of points filtered is the "Points

per sweep" (see above Re-scale menu).

Transform-Filter-Type of filter-  There is a choice of digital

approximations to common analogue filters.  The choice depends on your parti-

cular requirements.  If minimum phase shift is required,  then use the Bessel

filter,   if maximum attenuation above the roll-off frequency is required

then use the  Tchebyshev filter.

Transform-Filter-Poles-  The number of poles determines for a given filter

type how steep is the attenuation above the roll-off frequency.  The more poles

then the steeper the attenuation,  but also the longer it takes to filter the

data.

Transform-Filter-Roll off -3dB-  The frequency at which the signal will be

attenuated by 3 decibels should be given here.

Transform-Filter-Local filter-  Sometimes you may want to see the result of

filtering just the part of a data sweep that you have displayed rather than the

whole sweep.  This function does that.

_______________________________________________________________________________

MACRO MENU

Macro-Go-   Start running a macro.  Characters are read from the current

macro file  whose file name is the last one to be entered as "Macro file name".

These characters are then interpreted as keystrokes.

Macro-Macro file name-  Enter the name of the file that you wish to record to

or run.

Macro-Record-  This function toggles "ON/OFF".  When you turn this function

on,   each subsequent key stroke is written to the file given by "Macro file

name",  starting at the beginning of the file.  To stop recording a macro, then

use this function again, ie toggle it "OFF".

Macro-Delete-  At some point in the future,  a version of this program  may

have further options that make deleting a file before recording to it necessary.

NB Editing a macro file using a text editor.  Ideally you should use a text

editor that allows you to enter any character from #0 to #255.  Note that for

example the keystroke <Right Arrow> generate two charcters, a null character

(#0) plus another character ('M').  For convenience,  the character '^' is

interpreted to mean the null character (#0),  so instead of using the null

character followed by a capital 'M' to mean <Right Arrow>,  the symbols ^M

may be used instead.

a)  To start the program,  type "VIEWMENU" (the name of the program),  or

"VIEW" (the name of the batch file that loads and unloads some soft fonts

to a HP laser printer).

b)  Suppose you have just started the program.  You will see the root menu

File, Graph, Copy, Delp, PtnSch etc. across the top of the screen.  If you

do not, then you probably have an  incompatible screen.  You should see

"File"  highlighted.  Press <Return>,  to go down a level in the menu

(<Esc> takes you back up).

Now you should see the "File" menu diplayed vertically